## Both
# of Contingencies checked | # of Contingencies Non-converged. | # of Contingencies that have PV switched to PQ | # of Contingencies causing violation | # of contingencies causing branch violation | # of contingencies causing voltage violation | # of contingencies causing low voltage violation | # of contingencies causing high voltage violation | # of branch violations. | # of branch violations. < 70kv | # of branch violations. >70kv | # of voltage violations | # of under-voltage violations | # of over voltage violations | # of under-voltage, < 70KV | # of under-voltage, >=70kv | # of over-voltage, < 70KV | #of over-voltage, >=70kv | Index of worst contingency in terms of over-flow (if negative, then it is a generator contingency) | violation = ((S-RateC)/RateC) *100% ( the same branch with the following collum) | Max flow violation = S - RateC (MW) | max voltage violations (pu) | max low voltage violations (pu) | max high voltage violations (pu) | sum of thermal violation of the worst contingency in terms of over-flow | Standard deviation of flow violation (in terms of all violations) | Standard deviation of flow violation, <70KV, (in terms of all violations) (in M.W) | Standard deviation of flow violation, >70KV, (in terms of all violations) (in M.W) | Standard deviation of under-voltage, < 70KV (in terms of all violations) | Standard deviation of under-voltage, >=70kv (in terms of all violations) | Standard deviation of over-voltage, < 70KV (in terms of all violations) | Standard deviation of over-voltage, >=70kv (in terms of all violations) | Average of flow violation (S - RateC, MVA ) (in terms of all violations) | Average of flow violation (S - RateC, MVA ), <70KV (in terms of all violations) | Average of flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Average of under-voltage, < 70KV (in terms of all violations) | Average of under-voltage, >=70kv (in terms of all violations) | Average of over-voltage, < 70KV (in terms of all violations) | Average of over-voltage, >=70kv (in terms of all violations) | Worst flow violation (S - RateC, MVA ) (in terms of all violations) | Worst flow violation (S - RateC, MVA ), <70KV, (in terms of all violations) | Worst flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Worst of under-voltage, < 70KV (in terms of all violations) | Worst under-voltage, >=70kv (in terms of all violations) | Worst over-voltage, < 70KV (in terms of all violations) | Worst over-voltage, >=70kv (in terms of all violations) | Average of over-flow, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of over-flow, >70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of under-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of under-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Total branch violations | Total voltage violations | Total low voltage violations | Total high voltage violations | Computational time (sec.) | Computational time (sec.) including output files to disk

## Brc
Day | Hour | # of Contingencies checked | # of Contingencies Non-converged. | # of Contingencies that have PV switched to PQ | # of Contingencies causing violation | # of contingencies causing branch violation | # of contingencies causing voltage violation | # of contingencies causing low voltage violation | # of contingencies causing high voltage violation | # of branch violations. | # of branch violations. < 70kv | # of branch violations. >70kv | # of voltage violations | # of under-voltage violations | # of over voltage violations | # of under-voltage, < 70KV | # of under-voltage, >=70kv | # of over-voltage, < 70KV | #of over-voltage, >=70kv | Index of worst contingency in terms of over-flow (if negative, then it is a generator contingency) | violation = ((S-RateC)/RateC) *100% ( the same branch with the following collum) | Max flow violation = S - RateC (MW) | max voltage violations (pu) | max low voltage violations (pu) | max high voltage violations (pu) | sum of thermal violation of the worst contingency in terms of over-flow | Standard deviation of flow violation (in terms of all violations) | Standard deviation of flow violation, <70KV, (in terms of all violations) (in M.W) | Standard deviation of flow violation, >70KV, (in terms of all violations) (in M.W) | Standard deviation of under-voltage, < 70KV (in terms of all violations) | Standard deviation of under-voltage, >=70kv (in terms of all violations) | Standard deviation of over-voltage, < 70KV (in terms of all violations) | Standard deviation of over-voltage, >=70kv (in terms of all violations) | Average of flow violation (S - RateC, MVA ) (in terms of all violations) | Average of flow violation (S - RateC, MVA ), <70KV (in terms of all violations) | Average of flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Average of under-voltage, < 70KV (in terms of all violations) | Average of under-voltage, >=70kv (in terms of all violations) | Average of over-voltage, < 70KV (in terms of all violations) | Average of over-voltage, >=70kv (in terms of all violations) | Worst flow violation (S - RateC, MVA ) (in terms of all violations) | Worst flow violation (S - RateC, MVA ), <70KV, (in terms of all violations) | Worst flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Worst of under-voltage, < 70KV (in terms of all violations) | Worst under-voltage, >=70kv (in terms of all violations) | Worst over-voltage, < 70KV (in terms of all violations) | Worst over-voltage, >=70kv (in terms of all violations) | Average of over-flow, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of over-flow, >70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of under-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of under-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Total branch violations | Total voltage violations | Total low voltage violations | Total high voltage violations
Day1 | 1
Day1 | 2
Day1 | 3
Day1 | 4
Day1 | 5
Day1 | 6
Day1 | 7
Day1 | 8
Day1 | 9
Day1 | 10
Day1 | 11
Day1 | 12
Day1 | 13
Day1 | 14
Day1 | 15
Day1 | 16
Day1 | 17
Day1 | 18
Day1 | 19
Day1 | 20
Day1 | 21
Day1 | 22
Day1 | 23
Day1 | 24
Day2 | 1
Day2 | 2
Day2 | 3
Day2 | 4
Day2 | 5
Day2 | 6
Day2 | 7
Day2 | 8
Day2 | 9
Day2 | 10
Day2 | 11
Day2 | 12
Day2 | 13
Day2 | 14
Day2 | 15
Day2 | 16
Day2 | 17
Day2 | 18
Day2 | 19
Day2 | 20
Day2 | 21
Day2 | 22
Day2 | 23
Day2 | 24
Day3 | 1
Day3 | 2
Day3 | 3
Day3 | 4
Day3 | 5
Day3 | 6
Day3 | 7
Day3 | 8
Day3 | 9
Day3 | 10
Day3 | 11
Day3 | 12
Day3 | 13
Day3 | 14
Day3 | 15
Day3 | 16
Day3 | 17
Day3 | 18
Day3 | 19
Day3 | 20
Day3 | 21
Day3 | 22
Day3 | 23
Day3 | 24

## Gen
Day | Hour | # of Contingencies checked | # of Contingencies Non-converged. | # of Contingencies that have PV switched to PQ | # of Contingencies causing violation | # of contingencies causing branch violation | # of contingencies causing voltage violation | # of contingencies causing low voltage violation | # of contingencies causing high voltage violation | # of branch violations. | # of branch violations. < 70kv | # of branch violations. >70kv | # of voltage violations | # of under-voltage violations | # of over voltage violations | # of under-voltage, < 70KV | # of under-voltage, >=70kv | # of over-voltage, < 70KV | #of over-voltage, >=70kv | Index of worst contingency in terms of over-flow (if negative, then it is a generator contingency) | violation = ((S-RateC)/RateC) *100% ( the same branch with the following collum) | Max flow violation = S - RateC (MW) | max voltage violations (pu) | max low voltage violations (pu) | max high voltage violations (pu) | sum of thermal violation of the worst contingency in terms of over-flow | Standard deviation of flow violation (in terms of all violations) | Standard deviation of flow violation, <70KV, (in terms of all violations) (in M.W) | Standard deviation of flow violation, >70KV, (in terms of all violations) (in M.W) | Standard deviation of under-voltage, < 70KV (in terms of all violations) | Standard deviation of under-voltage, >=70kv (in terms of all violations) | Standard deviation of over-voltage, < 70KV (in terms of all violations) | Standard deviation of over-voltage, >=70kv (in terms of all violations) | Average of flow violation (S - RateC, MVA ) (in terms of all violations) | Average of flow violation (S - RateC, MVA ), <70KV (in terms of all violations) | Average of flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Average of under-voltage, < 70KV (in terms of all violations) | Average of under-voltage, >=70kv (in terms of all violations) | Average of over-voltage, < 70KV (in terms of all violations) | Average of over-voltage, >=70kv (in terms of all violations) | Worst flow violation (S - RateC, MVA ) (in terms of all violations) | Worst flow violation (S - RateC, MVA ), <70KV, (in terms of all violations) | Worst flow violation (S - RateC, MVA ), >70KV (in terms of all violations) | Worst of under-voltage, < 70KV (in terms of all violations) | Worst under-voltage, >=70kv (in terms of all violations) | Worst over-voltage, < 70KV (in terms of all violations) | Worst over-voltage, >=70kv (in terms of all violations) | Average of over-flow, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of over-flow, >70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") (in M.W) | Average of under-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of under-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, < 70KV (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Average of over-voltage, >=70kv (First calculate the average violation "AVPC" per contingency; then, calculate the average overall "AVPC") | Total branch violations | Total voltage violations | Total low voltage violations | Total high voltage violations
Day1 | 1
Day1 | 2
Day1 | 3
Day1 | 4
Day1 | 5
Day1 | 6
Day1 | 7
Day1 | 8
Day1 | 9
Day1 | 10
Day1 | 11
Day1 | 12
Day1 | 13
Day1 | 14
Day1 | 15
Day1 | 16
Day1 | 17
Day1 | 18
Day1 | 19
Day1 | 20
Day1 | 21
Day1 | 22
Day1 | 23
Day1 | 24
Day2 | 1
Day2 | 2
Day2 | 3
Day2 | 4
Day2 | 5
Day2 | 6
Day2 | 7
Day2 | 8
Day2 | 9
Day2 | 10
Day2 | 11
Day2 | 12
Day2 | 13
Day2 | 14
Day2 | 15
Day2 | 16
Day2 | 17
Day2 | 18
Day2 | 19
Day2 | 20
Day2 | 21
Day2 | 22
Day2 | 23
Day2 | 24
Day3 | 1
Day3 | 2
Day3 | 3
Day3 | 4
Day3 | 5
Day3 | 6
Day3 | 7
Day3 | 8
Day3 | 9
Day3 | 10
Day3 | 11
Day3 | 12
Day3 | 13
Day3 | 14
Day3 | 15
Day3 | 16
Day3 | 17
Day3 | 18
Day3 | 19
Day3 | 20
Day3 | 21
Day3 | 22
Day3 | 23
Day3 | 24