## np_1
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_2
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_4
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_7
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_8
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_13
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_15
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_16
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_17
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_20
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_25
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_32
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_34
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_50
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_64
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}

## np_100
These collums exclude all zero elements; all elements are 0 if it still shows 0.
Solution time (seconds) | Total active load (per unit) | Total reactive load (per unit) | # of contingencies checked with Transm Swit (TS) | # of Contingencies whose original violation is within tolerance | # of Contingencies whose original flow violation is within tolerance | # of Contingencies whose original voltage violation is within tolerance | # of contingencies with no reduction in violation | # of contingencies with no violations with TS | Avg # of TS actions to reduce violation to zero | # of contingencies with violation reduced with TS | Avg # of TS actions with violation reduced | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | min{ max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum (J) | min{ max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum (L) | sum of Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to min{ max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | max { max {MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Vm Violation improvement associated to the previous collum | max { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Flow Violation improvement associated to the previous collum | sum of Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | MVA Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Voltage Violation improvement corresponding to max { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. { max{MVA violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Vm Violation improvement associated to the previous collum (J) | Avg. { max{Voltage violation improvement over all Transm Swit actions per contingency} over each contingency} | Avg. Flow Violation improvement associated to the previous collum (L) | Avg. Summation of Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} ( 0 - 200%) | Avg. MVA Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency} | Avg. Voltage Violation improvement corresponding to { max{ (MVA violation improvement + Voltage violation improvement) over all Transm Swit actions per contingency} over each contingency}